
           
[image: image1.wmf]
Town of Needham 
Building Department
470 Dedham Ave.

Needham, MA 02492

                   Tel. 781-455-7542

DECK CONSTRUCTION INFORMATION
R502.2.2 Decks.  Where supported by attachment to an exterior wall, decks shall be positively anchored to the primary structure and designed for both vertical and lateral loads as applicable. Such attachment shall not be accomplished by the use of toenails or nails subject to withdrawal. Where positive connections to the primary building structure cannot be verified during inspection, decks shall be self supporting. For decks with cantilevered framing members, connections to exterior walls or other framing members, shall be designed and constructed to resist uplift resulting from the full live load specified in Table R301.5 acting on the cantilevered portion of the deck.
R502.2.2.1 Deck ledger connection to band joist.  For decks supporting a total design load of 50 pounds per square foot.  (Live Load-40#, Dead Load-10#) – shall be constructed with ½” screws or bolts with washers in accordance with Table R502.2.2.1. Lag screws, bolts and washers shall be hot-dipped galvanized or stainless steel.
R502.2.2.1.1 Placement of lag screws or bolts in deck ledgers.  The lag screws or bolts shall be placed 2 inches in from the bottom or top of the deck ledgers and between 2 and 5 inches in from the ends. The lag screws or bolts shall be staggered from the top to the bottom along the horizontal run of the deck ledger.
R502.2.3 Deck lateral load connections. The lateral load connection required by Section R502.2.2 shall be permitted to be in accordance with figure R502.2.2.3. Hold –down tension devices shall be installed in not less than two locations per deck, and each device shall have an allowable stress design capacity of not less than 1500 pounds   SEE FIGURE R502.2.2.3
R502.2.2.4 Exterior woo/plastic composite deck boards.  Wood/plastic composite deck boards shall be installed in accordance with the manufacturers instructions.
TABLE R502.2.2.1
FASTENER SPACING FOR A SOUTHERN PINE OR HEM-FIR DECK LEDGER

AND A 2-INCH NOMINAL SOLID SAWN SPRUCE-PINE-FIR BAND JOIST c,f,g
(Deck live load = 40 psf, deck dead load = 10 psf

	JOIST SPAN
	6’ and less
	6’1” to 8’
	8’1”to10’
	10’1”to12’
	12’1’to14’
	14’1”to16’
	16’1”to18’

	Connection details
	On – center spacing of fasteners (d), (e)

	1/2 inch diameter lag screw with 15/32 inch
Maximum sheathing (a)
	30
	23
	18
	15
	13
	11
	10

	½ inch diameter bolt with 15/32 inch maximum sheathing
	36
	36
	34
	29
	24
	21
	19

	1.2 inch diameter bolt with 15/32 inch maximum sheathing and ½ inch stacked washers  (b), (h)
	36
	36
	29
	24
	21
	18
	16


For S1: 1 inch = 25.4 mm, 1 foot= 304.8 mm. 1 pound per square foot = 0.0479kPa

a. The tip of the lag screw shall fully extend beyond the inside face of the band joist.

b. The maximum gap between the face of the ledger board and face of the wall sheathing shall be ½”.

c. Ledgers shall be flashed to prevent water from contacting the house band joist

d. Lag screws and bolts shall be staggered in accordance with Section R502.2.2.1.1

e. Deck ledger shall be minimum 2x8 pressure-preservative-treated No.2 grade lumber, or other approved materials as established by standard engineering practice.

f. When solid-sawn pressure preservative-treated deck ledgers are attached to a minimum 1inch thick engineered wood product(structural composite lumber, laminated veneer lumber or wood structural panel band joist), the ledger attachment shall be designed in accordance with accepted engineering practice.
g. A minimum 1x91/2 Douglas Fir laminated veneer lumber  rimboard shall be permitted in lieu of the 2 inch nominal band joist.

h. Wood structural panel sheathing, gypsum board sheathing or foam sheathing not exceeding 1 inch thick in thickness shall be permitted The maximum distance between the face of the ledger board and the face of the band joist shall be 1 inch.
FIGURE R502.2.2.3


[image: image2.emf]
1
Deck Construction Information

_955362403.doc
[image: image1.png]‘2“ :ml"",'“

“trttrinseresor g








_1378795112.pdf





